***NEW SINGLE-FAMILY DWELLING***

***120-DAY ELECTRICAL APPROVAL***

The permit holder hereby request approval for electrical service on Permit Number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

for property located at \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_for a period not to exceed 120 days. Such request is made in order to complete construction of the structure. It is understood that Business & Development Services may grant approval based on the following:

1. Completion, inspection and approval of the electrical rough-in and service equipment including panel boards by the department’s electrical inspector.
2. Only one (1) branch circuit supplying 120V duplex receptacle protected by G.F.C.I. will be allowed unless otherwise approved by the electrical inspector upon sufficient justification being submitted.
3. All service equipment shall be secured and made safe with inspections completed prior to the department contacting the power company.
4. The Contractor or Owner assumes all responsibility and liability for the electrical installation during the 120-day electrical approval and will indemnify and hold harmless Macon-Bibb County, its employees, assigns, etc. for damages caused by the use of electricity during the 120 days.
5. The Contractor or Owner further understands that they shall request final inspections and approvals by ***Business Development Services*** prior to the structure being occupied.
6. At the end of the 120 days, the power company will be notified to disconnect the electrical power from the structure unless a final inspection and electrical approval has been completed by ***Business Development Services***.
7. Contractors that do not follow guidelines of this signed agreement will be terminated from participation in the 120-day contract agreement.

Date of approval/release to power company: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Electrical Contractor’s Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

120-Day expiration date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Permit Holder’s Name (Contractor/Owner:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Phone Number: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Fax/Email: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature of Permit Holder or Electrical Contractor: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\*Revised 12/2018