

MACON-BIBB COUNTY

BUSINESS & DEVELOPMENT SERVICES

200 Cherry Street--Suite 202 Macon, Georgia

(478) 803-0470

**HYDROSTATIC SPRINKLER TEST AFFIDAVIT**

**(Material Test Certificate Still Required)**

\*\*\*Test Must Be Witnessed By Individual Other Than Installer\*\*\*

Permit No.\_\_\_\_\_\_\_\_\_\_\_\_\_ Project No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name of Sprinkler Contractor\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name of General Contractor\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Project Name\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Project Address\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Is this system above or below ground? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Test Time\_\_\_\_\_\_\_\_\_\_A.M/P.M to \_\_\_\_\_\_\_\_\_\_\_A.M/P.M

I, \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, the undersigned being of lawful age, hereby certify that the sprinkler system installed at the above documented location has been hydrostatically tested to a pressure of at least 200 psi in accordance with NFPA 13 and found to be in compliance.

Installer\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date\_\_\_\_\_\_\_\_\_\_\_

Sign

Witness\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date\_\_\_\_\_\_\_\_\_\_\_

Sign

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Notary Public Sign and Seal